Project Name:

lasttest

Client Name:

lt

Capacity:

lt

### 1. Manual Screen

### Sec01: General Data

| Field | Value |
| --- | --- |
| Manufacturer | Ietos Factory |
| Service | Inlet Area |
| Fluid | Sewage |
| Operation | Manual |
| Quantity of Units | 1 |
| Country of Origin | Egypt |

### Sec02: Design Data

| Field | Value |
| --- | --- |
| Type | Bar Coarse Screen |
| Chanel Height (m) | 15 |
| Channel Width (m) | 1 |
| Water Level (m) | 0.75 |
| Bar Thickness (m) | 0.01 |
| Bar Width (m) | 0.025 |
| Bar Spacing (m) | 0.025 |
| Angle | 90 |
| Hand Rack Qty | 2 |

### Sec03: Material Data

| Field | Value |
| --- | --- |
| Frame | Stainless Steel 316 |
| Bars | Stainless Steel 316 |
| Rake Tube | Stainless Steel 316 |
| Rake Plate | Stainless Steel 316 |
| Bolts & Nuts | A4 |

### 2. Mechanical Screen

### Sec01: General Data

| Field | Value |
| --- | --- |
| Manufacturer | Ietos Factory |
| Service | Inlet Area |
| Fluid | Sewage |
| Operation | Automatic & Manual |
| Quantity of Units | 1 |
| Country of Origin | Egypt |

### Sec02: Design Data

| Field | Value |
| --- | --- |
| Type | Mechanical Coarse Screen-Multi rack |
| Channel Depth | 500 |
| Screen Width (mm) | 300 |
| Water Level (mm) | 600 |
| Bar Th (mm) | 10 |
| Bar Width (mm) | 500 |
| Bar Spacing (mm) | 25 |
| Inclination Degree (Deg) | 70 |

### Sec03: Gearmotor Data

| Field | Value |
| --- | --- |
| Power Required (Wat) | 41.66 |
| Power Supply | 380/3/50 |
| Driving Unit Service Factor | 2 |
| Motor Insulation Protection | IP 65 |
| Isolation / Temp. Class | Class F/B |

### Sec04: Control panel Data

| Field | Value |
| --- | --- |
| Voltage | 380 |
| Phase | 3 |
| Frequency | 50 |
| Insulation Protection | IP 65 |
| Panel Thickness | 2 |

### Sec05: Material Data

| Field | Value |
| --- | --- |
| Screen Bars | Stainless Steel 316 |
| Frame | Stainless Steel 316 |
| Rack | Stainless Steel 316 |
| Rack (Teeth) | Artelon |
| Sprockets | Stainless Steel 316 |

### Sec06: Other Data

| Field | Value |
| --- | --- |
| One Rack | Yes |
| Two sets of bearings | Yes |

### 3. Belt Conveyor

### Sec01: General Data

| Field | Value |
| --- | --- |
| Manufacturer | Ietos Factory |
| Service | Screening Area |
| Fluid | Screening Disposals |
| Operation | Automatic & Manual |
| Quantity of Units | 1 |
| Country of Origin | Egypt |

### Sec02: Design Data

| Field | Value |
| --- | --- |
| Belt Width | 205 |
| Belt Length | 603 |
| Belt Thickness | 10 |
| Mounting | Horizontal |
| Chute | Included |

### Sec03: Gearbox Data

| Field | Value |
| --- | --- |
| Type of drive | Gear Motor |
| Power | 11.90 |
| Power Supply | 380/3/50 |
| Driving Unit Service Factor | â‰¥ 2 |
| Motor Insulation Protection | IP 66 |
| Isolation / Temp. Class | Class F/B |
| Gear Motor | Rossi/Bonfiglioli |

### Sec04: Motor Data

| Field | Value |
| --- | --- |
| Frame | Hot Dip Galvanized Steel |
| Idlers | Coated Steel Unit |
| Belt | Triple-Ply Nylon Layer |
| Driving & Driven Drum Set | Coated Steel Unit |
| Belt Scrapper | Rubber |
| Bolts & Nuts | A4 |

### Sec05: Material Data

| Field | Value |
| --- | --- |
| 1. One set of bearing | Yes |
| 2. Five rollers with accessories | Yes |
| 3. One set of bearing for motor | Yes |