Project Name:

lasttest

Client Name:

lt

Capacity:

lt

### 1. Manual Screen

### Sec01: Inputs

| Field | Value |
| --- | --- |
| Chanel Height (m) | 15 |
| Channel Width (m) | 1 |
| Water Level (m) | 0.75 |
| Water Level Margin (m) | 0.1 |
| Bar Spacing (m) | 0.025 |
| Bar Thickness (m) | 0.01 |
| Bar Width (m) | 0.025 |
| Angle | 90 |

### Sec02: Outputs

| Field | Value |
| --- | --- |
| Weight (KG) | 439.31 |

### 2. Mechanical Screen

### Sec01: Inputs

| Field | Value |
| --- | --- |
| Channel Height (mm) | 500 |
| Screen Width (mm) | 300 |
| Belt Height (mm) | 1000 |
| Water Level (mm) | 600 |
| Bar Spacing (mm) | 25 |
| Bar Th (mm) | 10 |
| Bar Width (mm) | 500 |
| Inclination Degree (Deg) | 70 |
| Sprocket Diameter (mm) | 320 |
| Velocity (m/s) | 0.06 |
| Safety Factor | 1.5 |

### Sec02: Outputs

| Field | Value |
| --- | --- |
| Weight of Screen (kg) | 481.74 |
| Power Required (Wat) | 41.66 |
| Speed of motor (RPM) | 3.58 RPM. |

### 3. Belt Conveyor

### Sec01: Inputs

| Field | Value |
| --- | --- |
| Belt Length | 603 |
| Belt Width | 205 |
| Drum Diameter | 250 |
| Friction | 0.3 |
| Velocity | 0.4 |
| Factor of Safety | 1.5 |
| Belt weight per meter | 15 |

### Sec02: Outputs

| Field | Value |
| --- | --- |
| Weight | 61.56 |
| Power | 11.90 |
| Speed | 0 |