Project Name:

testall

Client Name:

ta

Capacity:

ta

### 1. Belt Conveyor

### Sec01: Inputs

| Field | Value |
| --- | --- |
| Belt Length | 2020 |
| Belt Width | 200 |
| Drum Diameter | 250 |
| Friction | 0.33 |
| Velocity | 0.44 |
| Factor of Safety | 1.55 |
| Belt weight per meter | 15 |

### Sec02: Outputs

| Field | Value |
| --- | --- |
| Weight | 135.71 |
| Power | 48.63 |
| Speed | 0 |

### 2. Manual Screen

### Sec01: Inputs

| Field | Value |
| --- | --- |
| Chanel Height (m) | 97 |
| Channel Width (m) | 78 |
| Water Level (m) | 0.758 |
| Water Level Margin (m) | 0.19 |
| Bar Spacing (m) | 0.0255 |
| Bar Thickness (m) | 2 |
| Bar Width (m) | 3 |
| Angle | 45 |

### Sec02: Outputs

| Field | Value |
| --- | --- |
| Weight (KG) | 3006639.5 |