Project Name:

testall

Client Name:

ta

Capacity:

ta

### 1. Belt Conveyor

### Sec01: General Data

| Field | Value |
| --- | --- |
| Manufacturer | Ietos Factory |
| Service | Screening Area |
| Fluid | Screening Disposals |
| Operation | Automatic & Manual |
| Quantity of Units | 1 |
| Country of Origin | Egypt |

### Sec02: Design Data

| Field | Value |
| --- | --- |
| Belt Width | 200 |
| Belt Length | 2020 |
| Belt Thickness | 10 |
| Mounting | Horizontal |
| Chute | Included |

### Sec03: Gearbox Data

| Field | Value |
| --- | --- |
| Type of drive | Gear Motor |
| Power | 48.63 |
| Power Supply | 380/3/50 |
| Driving Unit Service Factor | â‰¥ 2 |
| Motor Insulation Protection | IP 66 |
| Isolation / Temp. Class | Class F/B |
| Gear Motor | Rossi/Bonfiglioli |

### Sec04: Motor Data

| Field | Value |
| --- | --- |
| Frame | Hot Dip Galvanized Steel |
| Idlers | Coated Steel Unit |
| Belt | Triple-Ply Nylon Layer |
| Driving & Driven Drum Set | Coated Steel Unit |
| Belt Scrapper | Rubber |
| Bolts & Nuts | A4 |

### Sec05: Material Data

| Field | Value |
| --- | --- |
| 1. One set of bearing | Yes |
| 2. Five rollers with accessories | Yes |
| 3. One set of bearing for motor | Yes |

### 2. Manual Screen

### Sec01: General Data

| Field | Value |
| --- | --- |
| Manufacturer | Ietos Factory |
| Service | Inlet Area |
| Fluid | Sewage |
| Operation | Manual |
| Quantity of Units | 1 |
| Country of Origin | Egypt |

### Sec02: Design Data

| Field | Value |
| --- | --- |
| Type | Bar Coarse Screen |
| Chanel Height (m) | 9734 |
| Channel Width (m) | 7853 |
| Water Level (m) | 0.758 |
| Bar Thickness (m) | 2 |
| Bar Width (m) | 3 |
| Bar Spacing (m) | 0.0255 |
| Angle | 45 |
| Hand Rack Qty | 2 |

### Sec03: Material Data

| Field | Value |
| --- | --- |
| Frame | Stainless Steel 316 |
| Bars | Stainless Steel 316 |
| Rake Tube | Stainless Steel 316 |
| Rake Plate | Stainless Steel 316 |
| Bolts & Nuts | A4 |