Project Name:

LTDXF

Client Name:

ld

Capacity:

ltd

### 1. Manual Screen

### Sec01: Inputs

| Field | Value |
| --- | --- |
| Chanel Height (m) | 5 |
| Channel Width (m) | 4 |
| Water Level (m) | 3 |
| Water Level Margin (m) | 1 |
| Bar Spacing (m) | 0.5 |
| Bar Thickness (m) | 0.5 |
| Bar Width (m) | 0.5 |
| Angle | 90 |

### Sec02: Outputs

| Field | Value |
| --- | --- |
| Weight (KG) | 35354.88 |

### 2. Mechanical Screen

### Sec01: Inputs

| Field | Value |
| --- | --- |
| Channel Height (mm) | 800 |
| Screen Width (mm) | 500 |
| Belt Height (mm) | 800 |
| Water Level (mm) | 400 |
| Bar Spacing (mm) | 20 |
| Bar Th (mm) | 5 |
| Bar Width (mm) | 40 |
| Inclination Degree (Deg) | 50 |
| Sprocket Diameter (mm) | 400 |
| Velocity (m/s) | 0.5 |
| Safety Factor | 2 |

### Sec02: Outputs

| Field | Value |
| --- | --- |
| Weight of Screen (kg) | 328.87 |
| Power Required (Wat) | 514.29 |
| Speed of motor (RPM) | 23.89 RPM. |