Project Name:

LTDXF

Client Name:

ld

Capacity:

ltd

### 1. Mechanical Screen

### Sec01: General Data

| Field | Value |
| --- | --- |
| Manufacturer | Ietos Factory |
| Service | Inlet Area |
| Fluid | Sewage |
| Operation | Automatic & Manual |
| Quantity of Units | 1 |
| Country of Origin | Egypt |

### Sec02: Design Data

| Field | Value |
| --- | --- |
| Type | Mechanical Coarse Screen-Multi rack |
| Channel Height (mm) | 400 |
| Screen Width (mm) | 250 |
| Water Level (mm) | 200 |
| Bar Th (mm) | 2.5 |
| Bar Width (mm) | 20 |
| Bar Spacing (mm) | 10 |
| Inclination Degree (Deg) | 25 |

### Sec03: Gearmotor Data

| Field | Value |
| --- | --- |
| Power Required (Wat) | 514.29 |
| Power Supply | 380/3/50 |
| Driving Unit Service Factor | 2 |
| Motor Insulation Protection | IP 65 |
| Isolation / Temp. Class | Class F/B |

### Sec04: Control panel Data

| Field | Value |
| --- | --- |
| Voltage | 380 |
| Phase | 3 |
| Frequency | 50 |
| Insulation Protection | IP 65 |
| Panel Thickness | 2 |

### Sec05: Material Data

| Field | Value |
| --- | --- |
| Screen Bars | Stainless Steel 316 |
| Frame | Stainless Steel 316 |
| Rack | Stainless Steel 316 |
| Rack (Teeth) | Artelon |
| Sprockets | Stainless Steel 316 |

### Sec06: Other Data

| Field | Value |
| --- | --- |
| One Rack | Yes |
| Two sets of bearings | Yes |

### 2. Manual Screen

### Sec01: General Data

| Field | Value |
| --- | --- |
| Manufacturer | Ietos Factory |
| Service | Inlet Area |
| Fluid | Sewage |
| Operation | Manual |
| Quantity of Units | 1 |
| Country of Origin | Egypt |

### Sec02: Design Data

| Field | Value |
| --- | --- |
| Type | Bar Coarse Screen |
| Chanel Height (m) | 2.5 |
| Channel Width (m) | 2 |
| Water Level (m) | 1.5 |
| Bar Thickness (m) | 0.25 |
| Bar Width (m) | 0.25 |
| Bar Spacing (m) | 0.25 |
| Angle | 45 |
| Hand Rack Qty | 2 |

### Sec03: Material Data

| Field | Value |
| --- | --- |
| Frame | Stainless Steel 316 |
| Bars | Stainless Steel 316 |
| Rake Tube | Stainless Steel 316 |
| Rake Plate | Stainless Steel 316 |
| Bolts & Nuts | A4 |