Project Name:

Testing

Client Name:

T

Capacity:

T

### 1. Primary Sedimentation Tank

### Sec01: Inputs

|  |  |
| --- | --- |
| Field | Value |
| Walkway Length | 10 |
| Friction Coefficient | 0.3 |
| Velocity (m/s) | 0.05 |
| FOS | 1.5 |

### Sec02: Outputs

|  |  |
| --- | --- |
| Field | Value |
| Total Weight (kg) | 2580.0 |
| Power Required (kW) | 725.625 |
| Motor Speed (rpm) | 0 |
| Steel Weight (kg) | 1800.0 |
| St.St. Weight (kg) | 780.0 |

### 2. Mechanical Screen

### Sec01: Inputs

|  |  |
| --- | --- |
| Field | Value |
| Channel Height (mm) | 1000 |
| Screen Width (mm) | 1000 |
| Belt Height (mm) | 1000 |
| Water Level (mm) | 600 |
| Bar Spacing (mm) | 25 |
| Bar Th (mm) | 10 |
| Bar Width (mm) | 50 |
| Inclination Degree (Deg) | 70 |
| Sprocket Diameter (mm) | 320 |
| Velocity (m/s) | 0.06 |
| Safety Factor | 1.5 |

### Sec02: Outputs

|  |  |
| --- | --- |
| Field | Value |
| Weight of Screen (kg) | 496.62 |
| Power Required (Wat) | 138.86 |
| Speed of motor (RPM) | 3.58 RPM. |

### 3. Belt Conveyor

### Sec01: Inputs

|  |  |
| --- | --- |
| Field | Value |
| Belt Length | 7000 |
| Belt Width | 800 |
| Drum Diameter | 250 |
| Friction | 0.3 |
| Velocity | 0.4 |
| Factor of Safety | 1.5 |
| Belt weight per meter | 15 |

### Sec02: Outputs

|  |  |
| --- | --- |
| Field | Value |
| Weight | 396.33 |
| Power | 539.14 |
| Speed | 0 |

### 4. Gritremoval

### Sec01: Inputs

|  |  |
| --- | --- |
| Field | Value |
| N of Channels | 2 |
| Channel Width | 2.5 |
| Civil Width | 0.4 |
| Bridge Length | 6 |
| Wheel Diameter | 0.25 |
| Friction | 0.3 |
| Velocity | 0.05 |
| Safety Factor | 1.5 |

### Sec02: Outputs

|  |  |
| --- | --- |
| Field | Value |
| Weight Total (kg) | 1956.00 |
| Driving Power (kW) | 628.71 |
| Driving Motor Speed (rpm) | 3.82 |
| Weight steel | 1256.00 |
| Weight St.St | 700.00 |
| Lifting Power (kW) | 282.60 |

### 5. Thickener

### Sec01: Inputs

|  |  |
| --- | --- |
| Field | Value |
| Diameter | 10 |
| N of Arms | 3 |
| Velocity (m/s) | 0.05 |
| FOS | 1.5 |

### Sec02: Outputs

|  |  |
| --- | --- |
| Field | Value |
| Total Weight (kg) | 2625.0 |
| Power Required (kW) | 421.875 |
| Motor Speed (rpm) | 0 |
| Recommended Pipe Diameter | 0 |
| Pinion Teeth | 0 |

### 6. Channel Penstocks

### Sec01: Inputs

|  |  |
| --- | --- |
| Field | Value |
| Channel Height | 1700 |
| Frame Height Over Channel | 900 |
| Channel Width | 650 |
| Gate Margin Width | 150 |
| Water Level | 475 |
| Gate Margin Over Water Lv | 200 |
| Gate Th | 6 |
| Gate Other PLs | 10 |
| HeadStock | 15 |
| Frame Weight Per M | 12.5 |

### Sec02: Outputs

|  |  |
| --- | --- |
| Field | Value |
| Frame Perimeter | 7150.0 |
| Frame Weight (KG) | 89.375 |
| Gate PL Weight | 25.92 |
| Gate Stiffener N | 3.0 |
| Gate Stiffener Weight | 7.776 |
| Gate Weight (KG) | 43.696 |
| Total Weight (KG) | 162.88 |

### 7. Manual Screen

### Sec01: Inputs

|  |  |
| --- | --- |
| Field | Value |
| Chanel Height (m) | 1.2 |
| Channel Width (m) | 0.8 |
| Water Level (m) | 0.75 |
| Water Level Margin (m) | 0.1 |
| Bar Spacing (m) | 0.025 |
| Bar Thickness (m) | 0.01 |
| Bar Width (m) | 0.025 |
| Angle | 45 |

### Sec02: Outputs

|  |  |
| --- | --- |
| Field | Value |
| Weight (KG) | 80.76 |

### 8. Basket screens

### Sec01: Inputs

|  |  |
| --- | --- |
| Field | Value |
| Bar Diameter (mm) | 20 |
| Bar Spacing (mm) | 25 |
| Screen Height (mm) | 1100 |
| Screen Width (mm) | 700 |
| Screen Length (mm) | 500 |
| Plate Thickness (mm) | 16 |

### Sec02: Outputs

|  |  |
| --- | --- |
| Field | Value |
| Bars Weight (KG) | 94.5 |
| Plate Weight (KG) | 41.86 |
| Total Weight (KG) | 178.22 |

### 9. Circular Tanks

### Sec01: Inputs

|  |  |
| --- | --- |
| Field | Value |
| Tank Diameter (mm) | 5000 |
| Tank Height (mm) | 5000 |

### Sec02: Outputs

|  |  |
| --- | --- |
| Field | Value |
| Tank Weight (KG) | 4698.0 |
| Tank Volume (m3) | 98.0 |
| Shell Th (mm) | 4 |
| Base Th (mm) | 6 |
| Shell Weight (KG) | 2512.0 |
| Base Weight (KG) | 942.0 |
| Base UPN Weight (KG) | 302.0 |
| Cover Weight (KG) | 942.0 |

### 10. Wall Penstocks

### Sec01: Inputs

|  |  |
| --- | --- |
| Field | Value |
| Opening Height (mm) | 400 |
| Opening Width (mm) | 600 |
| PL Thickness (mm) | 6 |
| Side Stif W Per M | 8 |
| Frame Other Plates (KG) | 10 |
| Gate Margin Width (mm) | 130 |
| Gate Margin Height (mm) | 50 |
| Gate Th (mm) | 6 |
| Gate Other Plates (KG) | 10 |
| Head Stock (KG) | 48 |

### Sec02: Outputs

|  |  |
| --- | --- |
| Field | Value |
| PL Weight (KG) | 400.0 |
| Side Stif Weight (KG) | 600.0 |
| Frame Other PL | 6.0 |
| Frame Weight | 8.0 |
| Gate Weight | 10.0 |
| Total Weight | 130.0 |

### 11. Rectangular Tanks

### 12. Screw Conveyor

### Sec01: Inputs

|  |  |
| --- | --- |
| Field | Value |
| Density (Kg/m3) | 1600 |
| Length (mm) | 5000 |
| Diameter (mm) | 300 |
| RequiredFlow (m3/h) | 5 |
| FillingRatio | 0.4 |
| SafetyFactor | 1.5 |
| MotorEff | 0.7 |
| ShaftDiameter (mm) | 50 |

### Sec02: Outputs

|  |  |
| --- | --- |
| Field | Value |
| Pitch (mm) | 240.0 |
| Speed (RPM) | 12.64 |
| Motor Power (Wat) | 238.1 |
| ScrewWeight (Kg) | 121.51 |
| FrameWeight (Kg) | 337.25 |

### 13. Rectangular Mixers

### Sec01: Inputs

|  |  |
| --- | --- |
| Field | Value |
| Length (m) | 1.5 |
| Width (m) | 1.5 |
| Water Depth (m) | 1.5 |
| Tank Depth (m) | 2 |
| Impeller Coefficient | 1.36 |
| Velocity Gradient | 600 |
| I D Factor | 0.5 |
| Safety Factor | 1.5 |

### Sec02: Outputs

|  |  |
| --- | --- |
| Field | Value |
| Total Weight (kg) | 0 |
| Power Required (kW) | Power: 3206.25 Wat |
| Motor Speed (rpm) | Speed: 79.73 RPM |
| Impeller Diameter (mm) | ImpellerDiameter: 0.85 Meter |
| Shaft Length (M) | 1.40 |
| Shaft D (mm) | 43.90 |
| Type | Rec |

### 14. Test Machine