Project Name:

testservice

Client Name:

tc

Capacity:

tc

### 1. Manual Screen

|  |  |
| --- | --- |
|  |  |
| Chanel Height (m) | 1.2 |
| Channel Width (m) | 0.8 |
| Water Level (m) | 0.75 |
| Water Level Margin (m) | 0.1 |
| Bar Spacing (m) | 0.025 |
| Bar Thickness (m) | 0.01 |
| Bar Width (m) | 0.025 |
| Angle | 45 |

|  |  |
| --- | --- |
|  |  |
| Weight (KG) | 80.76 |