# Project Report: TATAta

## Project Details

Project Name:

TATAta

Client Name:

ta

Capacity:

ta

### 1. Manual Screen

### Sec01: General Data

|  |  |
| --- | --- |
| Field | Value |
| Chanel Height (m) | 1.2 |
| Channel Width (m) | 0.8 |
| Water Level (m) | 0.75 |
| Water Level Margin (m) | 0.1 |
| Bar Spacing (m) | 0.025 |
| Bar Thickness (m) | 0.01 |
| Bar Width (m) | 0.025 |
| Angle | 45 |

### Sec02: Design Data

|  |  |
| --- | --- |
| Field | Value |
| Weight (KG) | 80.76 |