Project Name:

testprogress

Client Name:

t

Capacity:

t

### 1. Manual Screen

### Sec01: General Data

|  |  |
| --- | --- |
| Field | Value |
| Manufacturer | Ietos Factory |
| Service | Inlet Area |
| Fluid | Sewage |
| Operation | Manual |
| Quantity of Units | 1 |
| Country of Origin | Egypt |

### Sec02: Design Data

|  |  |
| --- | --- |
| Field | Value |
| Type | Bar Coarse Screen |
| Channel Depth | 1500 |
| Channel Width | 400 |
| Water Level | 600 |
| Bar Thickness | 12 |
| Bar Width | 50 |
| Bar Spacing | 25 |
| Inclination Degree | 60Â° |
| Hand Rack Qty | 2 |

### Sec03: Material Data

|  |  |
| --- | --- |
| Field | Value |
| Frame | Stainless Steel 316 |
| Bars | Stainless Steel 316 |
| Rake Tube | Stainless Steel 316 |
| Rake Plate | Stainless Steel 316 |
| Bolts & Nuts | A4 |