Project Name:

zzz

Client Name:

zzz

Capacity:

zzz

### 1. Belt Conveyor

### Sec01: General Data

|  |  |
| --- | --- |
| Field | Value |
| Manufacturer | Ietos Factory |
| Service | Screening Area |
| Fluid | Screening Disposals |
| Operation | Automatic & Manual |
| Quantity of Units | 1 |
| Country of Origin | Egypt |

### Sec02: Design Data

|  |  |
| --- | --- |
| Field | Value |
| Width | 600 |
| Length | 3200 approx. |
| Belt Thickness | 10 |
| Mounting | Horizontal |
| Chute | Included |

### Sec03: Gearbox Data

|  |  |
| --- | --- |
| Field | Value |
| Type of drive | Gear Motor |
| Power | 0.25 |
| Power Supply | 380/3/50 |
| Driving Unit Service Factor | â‰¥ 2 |
| Motor Insulation Protection | IP 66 |
| Isolation / Temp. Class | Class F/B |
| Gear Motor | Rossi/Bonfiglioli |

### Sec04: Motor Data

|  |  |
| --- | --- |
| Field | Value |
| Frame | Hot Dip Galvanized Steel |
| Idlers | Coated Steel Unit |
| Belt | Triple-Ply Nylon Layer |
| Driving & Driven Drum Set | Coated Steel Unit |
| Belt Scrapper | Rubber |
| Bolts & Nuts | A4 |

### Sec05: Material Data

|  |  |
| --- | --- |
| Field | Value |
| 1. One set of bearing | Yes |
| 2. Five rollers with accessories | Yes |
| 3. One set of bearing for motor | Yes |